ORDER FORM

for selection of automatic control system of the air handling units

1. Customer (organization name):

  - Air handling unit composition:

    - Air valve:

- - manually operated

- - electrically operated: power supply □ ~220 V / □ ~24 V, drive type:

    - Filter:

- - without clogging control

- - with filter clogging control

Number of filters:____________ pcs.

    - Heater

- - water:

water flow rate Q, m3/h:

heater hydraulic resistance с1Pk, kPa:

direct and return water temperatures: Tdir/Tret, °C:		/

inlet and outlet air temperature t in./ tout., °C		/

water differential pressure Pdir. / Pret., kgf/cm2	_________/

- - electrical:

power N, kW:

power supply voltage: □ 1-220 V/ □ 3-380 V

number and power of stages:

- - steam:

steam pressure P, kgf/cm2:

steam temperature Tst, °C:

steam flow rate Q, kg/h:

    - Cooler

- - water:

water flow rate Q, m3/h:

heater hydraulic resistance CPk, kPa:

direct and return water temperatures: Tdir/Tret, °C:		/

inlet and outlet air temperature t in./ tout., °C		/

water differential pressure Pdir. / Pret., kgf/cm2

- - freon

inlet and outlet air temperature t in./ tout., °C		/

    - Fan

shaft power Ne, kW:

power supply voltage: □ 1-220 V/ □ 3-380 V

- - external rotor motor

- - general industrial induction motor

- - motor thermal switch availability and its type: О - bimetallic, О - thermistor

- - necessity of fan speed control

  - Optional components of air handling unit and their basic parameters:

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

4. Control system optional functions (see catalog or TOR):

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

- Contact person:	___________________________________________________________

6. Telephone, fax, e-mail:___________________________________________________________